Agenda

14 May 2024 DPW Advisory Board Meeting

Attendees:  Todd Swanson, John Poshka, Troy Winkleman, Steve Rudnicki , Dennis Lutes, Doug Sanderson,  Jim Simpson,  Andrew Thompson, Erin Schuster

1. Welcome/ Introductions:

2. Action Items:  Approve minutes to 12 March 2024 meeting.

3. Old Business:

- WPCF - Future projects:  Replacing sludge press; generator at raw sewage pump sta. and I&I study recommendations. MRB – Grant status; was there mtg. to discuss reducing scope?

- Water projects:  Minton pump station – Status of contract close-outs, H&K/Gerwitz & McNeil.

- Finley Rd. interconnect with National Grid, Status of refund? O’Connell – Final billing, contract close-out, claim status, switch problem.

- 2nd feeder to Portage Substation,

- Connection or conductors at substation (phasing issue) – status.

- Bourne St. Substation vacuum breakers. Final connections – status.

- Electric upgrade projects:

- Power Systems Engr. (PSE) was there a mtg. to discuss feedback/results of modeling adjustments? Status. PSE EV Charging Study, dtd. 9 April 2024.

- Bourne St. substation upgrades; design, status (PSE). Did PO go out for transformers?

- NYSERDA grant for second primary feeder for Village power. 3rd RFP?

- MRB Support Services: Status; 1. Cottage and Academy St. work, grant status for storm drainage, sidewalks & paving.  2.  Water master plan – review of draft plan, future projects?

- Manhole Replacement at Growers: Kingsview awarded Contract. Status – Schedule.

- CGR report and recommendations.

- Fiber-optic owner/operator feasibility options? Were options, +/- sent out?

- Electric rate increase case: BST? Status?

- Drinking Water Source Protection: Status, result of meeting?

4. Review of ongoing/upcoming work:

- Public Works

- Electric

- Water

- Sewer

5. New Business/Open Discussion:

- EV charging station – Barcelona

- NYMPA annual financial report.

6. Action Items: